spill-1974005

Saturday, March 16, 1974 - 17:00

[Spill Status](https://www.enr.gov.nt.ca/en/spill/spill-1974005)

**Occurance Date/Time:**

Sunday, March 17, 1974 - 00:00

**Involved Parties Type:**

Mining Company

**Potential Spill:**

No

[Spill Information](https://www.enr.gov.nt.ca/en/spill/spill-1974005)

**Spill Region:**

North Slave

**Spill Location:**

Giant

**Spill Location Description:**

Between Tailings Pond & Back Bay

**Land Sea Indicator:**

Fresh Water

**Spill Source:**

Tailings Pond

**Spill Cause:**

Dyke Failure

**Product Spilled:**

Wastewater (sewage, mine tailings)

**Product Spilled Description:**

Mine Tailings Effluent

**Spill Quantity:**

22,730,000.00

**Measurement:**

Litres

[Reporter Information](https://www.enr.gov.nt.ca/en/spill/spill-1974005)

**Reporting Date and Time:**

Saturday, March 16, 1974 - 17:00